## Notes
take pictures, then record run/point
|  | Run | TPN | V [ft/s] | Q[psi] | Station [ft] | Orientation [deg] | Description
2017-08-02 |  | 1 | 1-6 | 0 |  | 13 | 0
|  | 2 | 7-11 | 50 | 0.020625 | 13 | 0 | sampling study, 5, 10, 15, 20, 30 everything is well below accuracy, no perceivable difference
|  | 2 | 12-17 | 95 | 0.074514 | 13 | 0 | sampling study, 5, 10, 15, 20, 30 everything is well below accuracy, no perceivable difference
|  | 2 | 18-22 | 140 | 0.16181 | 13 | 0 | sampling study, 5, 10, 15, 20, 30 everything is well below accuracy, no perceivable difference, 30 sec had to be repeated
[6 empty] | 13 | 0 | Used a plumb line to make sure rake was centered over the test area
2017-08-03 | [7 empty] | west side 0.02 degrees, east side 0.20 degrees inclinometer
reference is under the foam at the lip
Q and PS and Ptotals are
| 9:25 | [6 empty] | calibration
| 9:31 | 3 | 23-25 | 0 |  | 4 | 0 | wind-off bad
| 9:32 | 3 | 26 | 0 |  |  | 0 | wind-off 5 sec
| 9:34 | 3 | 27-37 | 50 |  |  | 0 | took extra 20-sec data points and an extra 5-sec point, data seems to be drifting but is all within uncertainty
| 9:46 | 4 | 38-42 | 95 |  |  | 0 | chad says reference is drifting 0.0005 psi which is causing data to drift
| 9:50 | 5 | 43-49 | 140 |  |  | 0
[6 empty] | 3 | 0 | west side 0.00 +- 0.01 degrees, east side 0.10 +- 0.05 degrees
| 10:53 | 6 |  |  |  |  | 0 | performed another calibration
| 10:55 | 6 | 50-52 | 0 |  |  |  | wind-off only point 52 is good
| 10:59 | 6 | 53-58 | 50 |  |  |  | 54 is actually 5 sec duration
| 11:03 | 7 | 59-63 | 95
| 11:06 | 8 | 64-68 | 140
|  |  |  | 0 |  | 3 | 90 | south side 0.03 deg, north side 0.00 deg
| 11:55 | [6 empty] | calibration
| 11:57 | 9 | 69 | 0 |  |  |  | wind off
| 13:36 | 9 | 70 | 0 |  |  |  | wind off
| 13:38 | 9 | 71-75 | 50 |  |  |  | longer duration samples have a steady rise in pressure
| 13:42 | 10 | 76-80 | 95
| 13:44 | 11 | 81-87 | 140 |  |  |  | discard points 82 and 83
|  |  |  | 0 |  | 3 | 270 | south side 0.02, north side 0.02 deg
| 14:33 | 12 | 88 | 0 |  |  |  | wind-off
| 14:35 | 12 | 89-101 | 50 |  |  |  | evidence of both drift and changed profile
| 14:56 | 13 | 102-112 | 95 |  |  |  | all pressure profiles look identical, small evidence of drift
| 15:05 | 13 | 113 | 140 |  |  |  | 5 sec duration, did not update run number
| 15:06 | 14 | 114-118 | 140 |  |  |  | Just wanted to see what would happen
re-run
|  | 14 | 119-127 |  |  |  |  | wind-off
2017-08-04 |  | Run |  | V [ft/s] | Q[psi] | Station [ft] | Orientation [deg] | Description
| 12:16 | 15 | [5 empty] | calibration
| 13:26 | 15 | 128 | 0 |  |  |  | wind-off
| 13:32 | 15 | 129-134 | 50 |  |  | 270 | added in a 25 - sec duration
| 13:38 | 16 | 135-140 | 140
| 14:08 | 17 | 141-145 | 50 |  |  | 270 | Took off rail support plates near the top took out 25-sec duration
| 14:14 | 18 | 146-150 | 140
| 14:20 | 18 | 151 | 140 |  |  |  | Took Video
[6 empty] | 2.5 | 0 | west 0.03 deg, east 0.02 deg
| 15:13 | 19 | 152 | 0 |  |  |  | wind-off
| 15:15 | 19 | 153-157 | 50
| 15:17 | 20 | 158-163 | 95 |  |  |  | missed 30-sec sample
| 15:21 | 21 | 164-167 | 140
|  | 22 | 168 | 140 |  |  |  | 30- sec
2017-08-07 |  | Run | TPN | V [ft/s] | Q[psi] | Station [ft] | Orientation [deg] | Description
TPN and Point diverge after point 95, so switched to TPN nomenclature
| 7:13 | [6 empty] | calibration performed
|  | 22 |  |  |  | 2.5 | 0 | pre-windoff
|  | 23 | 170 | 0 |  |  |  | marked as 2.50deg5sec, actual duration 30 sec and run22
| 9:09 | 23 | 171 | 0 |  |  |  | 5-sec wind-off
| 9:16 | 23 | 172-176 | 50
| 9:19 | 24 | 177-181 | 95
| 9:23 | 25 | 182-187 | 140 |  |  |  | 182 IS BAD
|  | 25 | 188 |  |  |  |  | wind-off
|  | 25 | 189-190 |  |  |  |  | tap-test
| 10:11 |  |  |  |  | 2 | 0 | 0.07 deg west, 0.35 deg east
| 10:13 | 26 | 191-192 | 0 |  |  |  | wind-off
| 10:15 | 26 | 193-199 | 50 |  |  |  | 193 is bad, 196 is 20sec duration
| 10:21 | 27 | 200-204 | 95
| 10:24 | 28 | 205-211 | 140 |  |  |  | 207 and 208 are bad
| 10:30 | 29 | 212-216 | 95 |  |  |  | plugged the reference
| 10:33 | 29 | 217-220 | 0 |  |  |  | plugged the reference
|  | 30 |  |  |  | 0 |  | 0.08 deg east, 0.03 deg west
| 13:37 |  |  | 0 |  |  |  | calibration
14:24
|  | 31 | 226,229 | 0 |  |  |  | wind-off
|  | 31 | 227, 230-234 | 50 |  |  |  | All NaN's
|  | 31 | 235 | 0 |  |  |  | wind-off
|  | 32 | 236 |  |  |  |  | start over, wind-off
|  | 32 | 237-241 | 50
|  | 33 | 242-246 | 95
|  | 34 | 247-252 | 140
|  | 34 | 253 | 0 |  |  |  | wind-off
2017-08-08 | Time | Run | TPN | V [ft/s] | Q[psi] | Station [ft] | Orientation [deg] | Description
| 7:04 |  |  | 0 |  | 0 | 0 | Calibration performed, couldn’t take notes because datamine broke
| 8:32 | 35 | 254 |  |  |  |  | wind-off
|  | 35 | 255-261 | 50
|  | 36 | 262-267 | 95
|  | 37 | 268-272 | 140
|  | 37 | 273 | 0
[7 empty] | 90 | 0.04 deg north, 0.02 deg south
| 9:11 | 38 | 274 | 0 |  |  |  | wind-off
| 9:15 | 38 | 275-279 | 50
| 9:17 | 39 | 280-285 | 95
| 9:21 | 40 | 286-290 | 140
|  | 40 | 291 | 0
[7 empty] | 270 | 0.01 deg south, 0.02 deg north
|  | 41 | 292 | 0
|  | 41 | 293-297 | 50
| 10:05 | 42 | 298-301 | 95
|  | 43 | 302-306 | 140
|  | 43 | 308 | 0
after run 12, there should be no more PS, PREF, Q flipping
2017-08-14 | Time | Run | TPN | V [ft/s] | Q[psi] | Station [ft] | Orientation [deg] | Description
| 8:48 | [6 empty] | calibration performed
0.01 deg west, 0.5 deg east
we're doing 5 avgs/sec now as opposed to 3 avgs/sec
from my seat, <- east ¦ west ->
|  | 44 | 310 |  |  |  |  | ignore
|  |  | 311,312 |  |  |  |  | wind-off
2 mensors were fighting the same channel, got it resolved
| 11:00 | [6 empty] | calibration performed
| 11:07 |  | 313 |  |  |  |  | wind-off
| 11:09 | 44 | 314-318 | 50 |  | 10 | 0
| 11:12 | 45 | 319-323 | 95
| 11:16 | 46 | 324-328 | 140 |  |  |  | probe 20 could have ladder influence
| 11:21 |  | 329 |  |  |  |  | wind-off
| 11:44 | 47 | 330 |  |  |  |  | wind-off, took down ladder and re-arranged tubing out of the way
| 11:47 |  | 331-336 | 50
| 11:52 |  | 338-343 | 95
| 11:58 |  | 344-348 | 140
| 12:02 | 47 | 349
[6 empty] | 4 | 0 | 0.01 deg on both sides
| 14:50 | 48 | 350-352 | 0 |  |  |  | wind-off
| 15:02 | 48 | 353-357 | 50
| 15:06 | 49 | 358-363 | 95
| 15:10 | 50 | 364-368 | 140
| 15:13 | 50 | 369
2017-08-15 | Time | Run | TPN | V [ft/s] | Q[psi] | Station [ft] | Orientation [deg] | Description
| 7:27 |  |  |  |  | 4 | 0 | calibration performed
| 8:21 | 51 | 370 |  |  |  |  | wind-off
|  | 51 | 371-376 | 50
|  | 52 | 377-381 | 95
|  | 53 | 382-389 | 140
| 8:37 | 53 | 390 | 0 |  |  |  | wind-off
[6 empty] | 3 | 0 | 0.01 west side, 0.03 east side
| 9:04 | 54 | 391 | 0
| 9:06 | 54 | 392-398 | 50 |  |  |  | 397 is actually 30 sec duration
| 9:12 | 55 | 399-403 | 95
| 9:15 | 56 | 404-408 | 140
| 9:20 | 56 | 409 | 0
[6 empty] | 3 | 90 | 0.03 deg south, 0.02 deg north
away from me is south, towards me is north
|  |  | 410-415 | 0 |  |  |  | wind-off, compared to 409, it takes time for the tubes to equalize again
| 10:04 |  | 416 | 0 |  |  |  | waited 5 minutes after going up to condition before taking data. Showed very precise repeatability, more than other points
| 10:09 |  | 417-421 | 50
| 10:18 |  | 422-426 | 95
| 10:26 |  | 427-431 | 140
| 10:34 |  | 432
| 12:23 |  |  |  |  | 3 | 90 | calibration
| 13:04 |  | 433 | 0 |  |  |  | windoff
|  |  | 434-444 | 50 |  |  |  | time sampling study
| 13:20 |  | 445-456 | 95 |  |  |  | 9 min point is actually 10 min, and 10 min is 11 min. then take new minute marks and shift down by 1 (everything is ahead 1 min.)
| 13:56 |  | 458 | 0
| 14:02 |  | 459-474 | 140
|  |  | 475 | 0
| 15:06 |  | 476 | 0 |  | 3 | 0 | wind-off
|  |  | 477-492 | 50 |  |  |  | forgot to write down, most likely 0.02 deg both sides
| 15:23 |  | 493-505 | 95
|  |  | 506-519 | 140
|  |  | 520-522 | 0
| 16:14 |  | 523 | 0 |  | 3 | 270 | 0.01 deg south, 0.03 deg north
| 16:16 |  | 524-528 | 50
| 16:19 |  | 529-533 | 95
| 16:22 |  | 534-539 | 140
|  |  | 540-541 | 0 |  |  |  | we didn't time it…
at 0 deg orientation, probe 1 is to the left and probe 20 is to the right

## Summary
take pictures, then record run/point
|  |  | Run | TPN | V [ft/s] | Station [ft] | Orientation [deg] | Description
2017-08-02 | Wed |  | 2 | 7-11 | 50 | 13 | 0
|  |  | 2 | 12-17 | 95
|  |  | 2 | 18-22 | 140
2017-08-03 | Thurs | 9:34 | 3 | 27-37 | 50 | 4 | 0 | took extra 20-sec data points and an extra 5-sec point, data seems to be drifting but is all within uncertainty
|  | 9:46 | 4 | 38-42 | 95
|  | 9:50 | 5 | 43-49 | 140
|  | 10:59 | 6 | 53-58 | 50 | 3
|  | 11:03 | 7 | 59-63 | 95
|  | 11:06 | 8 | 64-68 | 140
|  | 13:38 | 9 | 71-75 | 50 | 3 | 90 | longer duration samples have a steady rise in pressure
|  | 13:42 | 10 | 76-80 | 95
|  | 13:44 | 11 | 81-87 | 140
|  | 14:35 | 12 | 89-101 | 50 | 3 | 270 | evidence of both drift and changed profile
|  | 14:56 | 13 | 102-112 | 95 |  |  | all pressure profiles look identical, small evidence of drift
|  | 15:06 | 14 | 113-118 | 140 |  |  | Just wanted to see what would happen
2017-08-04 | Fri | 13:32 | 15 | 129-134 | 50 | 3 | 270
|  | 13:38 | 16 | 135-140 | 140
|  | 14:08 | 17 | 141-145 | 50 |  |  | Took off rail support plates near the top took out 25-sec duration
|  | 14:14 | 18 | 146-151 | 140
|  | 15:15 | 19 | 153-157 | 50 | 2.5 | 0
|  | 15:17 | 20 | 158-163 | 95
|  | 15:21 | 21 | 164-168 | 140
2017-08-07 | Mon | 9:16 | 23 | 172-176 | 50 | 2.5 | 0
|  | 9:19 | 24 | 177-181 | 95
|  | 9:23 | 25 | 182-187 | 140
|  | 10:15 | 26 | 193-199 | 50 | 2 | 0
|  | 10:21 | 27 | 200-204 | 95
|  | 10:24 | 28 | 205-211 | 140
|  | 10:30 | 29 | 212-216 | 95 |  |  | ref plugged
|  |  | 32 | 237-241 | 50 | 0 | 0
|  |  | 33 | 242-246 | 95
|  |  | 34 | 247-252 | 140
2017-08-08 | Tues |  | 35 | 255-261 | 50 | 0 | 0 | repeat
|  |  | 36 | 262-267 | 95
|  |  | 37 | 268-272 | 140
|  | 9:15 | 38 | 275-279 | 50 | 0 | 90
|  | 9:17 | 39 | 280-285 | 95
|  | 9:21 | 40 | 286-290 | 140
|  |  | 41 | 293-297 | 50 | 0 | 270
|  | 10:05 | 42 | 298-301 | 95
|  |  | 43 | 302-306 | 140

## Save
Date | Day | TPN | Station [ft] | Orientation [deg] | V [ft/s]
| 1 | 7-11 | 13 | 0 | 50 | 9,11 is bad
| 1 | 12-17 | 13 | 0 | 95
| 1 | 18-22 | 13 | 0 | 140 | 20-22 bad
| 2 | 27-37 | 4 | 0 | 50 | 31 is bad
| 2 | 38-42 | 4 | 0 | 95
| 2 | 43-49 | 4 | 0 | 140
| 2 | 53-58 | 3 | 0 | 50
| 2 | 59-63 | 3 | 0 | 95
| 2 | 64-68 | 3 | 0 | 140 | 64 is bad
| 2 | 71-75 | 3 | 90 | 50 | 75 is bad
| 2 | 76-80 | 3 | 90 | 95
| 2 | 81-87 | 3 | 90 | 140
| 2 | 89-101 | 3 | 270 | 50
| 2 | 102-112 | 3 | 270 | 95
| 2 | 113-118 | 3 | 270 | 140 |  | collapsed together very well
| 3 | 129-134 | 3 | 270 | 50 | repeat
| 3 | 135-140 | 3 | 270 | 140 |  | normalization colapses better
| 3 | 141-145 | 3 | 270 | 50 | took out rail supports
| 3 | 146-151 | 3 | 270 | 140
| 3 | 153-157 | 2.5 | 0 | 50
| 3 | 158-163 | 2.5 | 0 | 95
| 3 | 164-168 | 2.5 | 0 | 140
| 4 | 172-176 | 2.5 | 0 | 50
| 4 | 177-181 | 2.5 | 0 | 95
| 4 | 182-187 | 2.5 | 0 | 140 |  | really really good
| 4 | 193-199 | 2 | 0 | 50
| 4 | 200-204 | 2 | 0 | 95
| 4 | 205-211 | 2 | 0 | 140
| 4 | 212-216 | 2 | 0 | 95 | ref plugged
| 4 | 237-241 | 0 | 0 | 50
| 4 | 242-246 | 0 | 0 | 95
| 4 | 247-252 | 0 | 0 | 140
| 5 | 255-261 | 0 | 0 | 50
| 5 | 262-267 | 0 | 0 | 95
| 5 | 268-272 | 0 | 0 | 140
| 5 | 275-279 | 0 | 90 | 50
| 5 | 280-285 | 0 | 90 | 95
| 5 | 286-290 | 0 | 90 | 140
| 5 | 293-297 | 0 | 270 | 50
| 5 | 298-301 | 0 | 270 | 95
| 5 | 302-306 | 0 | 270 | 140

## Uncertainty
2.97 | psf | 22
0.020625 | psi | 0.15278
accuracy
0.00072 | psi